## Sheet1
REGULATED CONTAMINANTS
DISINFECTANTS AND | COLLECTION | HIGHEST LEVEL | RANGE OF | MCLG | MCL | UNITS | VIOLATION | LIKELY SOURCE
DISINFECTION BYPRODUCTS | DATE | DETECTED | DETECTED |  |  |  |  | OF CONTAMINATION
TOTAL |  |  |  | No Goal |  |  |  | By-product of drinking
TRIHALOMETHANES | 10.30.17. | 4.6 | 2.1 4.6 | for Total | 80 | ppb | N | water chlorination
HALOACETIC ACID | 10.30.17. | 7.7 | 1.3 7.7 |  | 60 | ppb | N
Not all sample results may been used for calculating the Highest Level Detected because some results may be part of an evaluation to determine where compliance
sampling should occur in the future
INORGANIC | COLLECTION | HIGHEST LEVEL | RANGE OF | MCLG | MCL | UNITS | VIOLATION | LIKELY SOURCE
CONTAMINANTS | DATE | DETECTED | DETECTED |  |  |  |  | OF CONTAMINATION
ARSENIC | 02.08.17. | 18.1 | 12.4 18.1 | 0 | 10 | ppb | y | Erosion of natureall deposits; runoff
| 06.28.17. | 16.6 | 11.7 16.6 |  |  |  | Y | from orchards runnoff from glas and
| 09.13.17. | 16.4 | 12.3 16.4 |  |  |  | Y | electronics productin wastes
| 11.08.17 | 18.4 | 13.1 18.4 |  |  |  | Y
BARIUM | 05.19.08 | 0.456 | 0.456 | 2 | 2 | ppm | N | Discharge of drilling wastes, discharge
from metal refineries; erosion of natural deposits
CHROMIUM | 05.19.08 | 5.29 | 3.09 5.29 | 100 | 100 | ppb | N | Discharge from steel and pulp mills;
eroision of natural deposits
FLUORIDE | 05.19.08. | 0.623 | .617 .623 | 4 | 4 | ppm | N | Erosion of natural deposits; water additive
which promotes strong teeth; discharge
from fertilizer and aluminum factories
Nitrate(measured as | 11.08.17. | 5.22 | 3.43 5.22 | 10 | 10 | ppm | N | Runoff from fertilizer use; leaching from
Nitrogen) | [7 empty] | septic tanks, sewage; erosion of natural
deposits
SELENIUM | 05.19.08 | 3.21 | 1.79 3.21 | 50 | 50 | ppb | N | Discharge from petroleum and metal
refineries; erosion of natural deposits
discharge from mines
LEAD | 08.09.16 | 2.5 | 0 2.5 | 0 | 15 | ppb | N | Household Plumbing
COPPER | 08.09.16. | 0.651 | .00372 .651 | 1.3 |  | ppm | N
RADIOACTIVE | COLLECTION | HIGHEST LEVEL | RANGE OF | MCLG | MCL | UNITS | VIOLATION | LIKELY SOURCE
CONTAMINANTS | DATE | DETECTED | DETECTED |  |  |  |  | OF CONTAMINATION
COMBINED RADIUM | 12.20.16 | NO DETECTED | no range detected | 0 | 5 | pCi/L | N | Erosion of natural deposits
GROSS ALPHA EXCLUDING | 12.20.16 | 10 | no range detected | 0 | 15 | pCi/L | N | Erosion of natural deposits
RADON AND URANIUM
URANIUM | 12.20.16. | 0.010. | no range detected | 0 | 30 | ug/1 | N | Erosion of natural deposits
CITY WELLS HARDNESS IS 150 MGL OR 10 GRAINS
FOR THE YEAR 2017 THE CITY OF VALE RECEIVED 8 VIOLATIONS FOR HIGH ARSENIC LEVELS
NON REGULATED CONSTITUENT SODIUM AT LEVEL OF 176 MG PER LITER
THE STATE ALLOWS US TO MONITOR FOR SOME CONTAMINANTS LESS THAN ONCE PER YEAR BECAUSE THE CONCENTRATIONS OF THESE CONTAMINANTS DO NOT CHANGE
FREQUENTLY. SOME OF OUR DATA, THOUGH REPRESENTATIVE, ARE MORE THAN ONE YEAR OLD.